## 25-26
AM MEDICAL CENTRE
SL.NO. | TYPE OF EQUIPMENT | EQUIPMENT COMPANY | EQUIPMENT MODEL NO. | LOCATION | AMC/CMC | AMC / CMC PERIOD |  | PM FREQ./ | 1st PM | 2nd PM | 3rd PM | 4th PM | REMARKS
[6 empty] | FROM | TO | YR.
1 | OCT MACHINE | ZEISS | CIRRUS500 | EYE OPD | CMC | 01.01.2026 | 31.12.2026 | 2 | 2026-06-01 | 2026-11-01
2 | PERIMETRY | ZEISS | HFA-3 860 | EYE OPD | AMC | 01.10.2025 | 30.09.2026 | 2 | 30.01.2026 | 2026-06-01
3 | YAG LASER | ZEISS | VISULAS | EYE OPD | AMC | 01.10.2025 | 30.09.2026 | 2 | 17.02.2026 | 2026-06-01
4 | DIGITAL FUND CAMERA | ZEISS | VISUCAM 500 | EYE OPD | AMC | 01.10.2025 | 30.09.2026 | 2 | 17.05.2025 | 17.02.2026
5 | XRAY | GE | HV ADVANTAGE | IMAGING | AMC | 01.06.2025 | 31.05.2026 | 1 | 22.10.2025
6 | LOGIQ3 PRO | GE | -- | KASBA | AMC | 01.01.2026 | 31.12.2026 | 2 | 2026-06-01 | 2026-11-01
7 | LOGIQ E | GE | -- | SOUTHERN AVENUE | AMC | 01.01.2025 | 31.12.2025 | 1 | 26.08.2025 |  |  |  | Expired
8 | LOGIQ F6 | GE | -- | KASBA | AMC | 01.01.2026 | 31.12.2026 | 2 | 2026-06-01 | 2026-11-01
9 | ETO MACHINE | UNIPOWER | -- | SOUTHERN AVENUE | AMC | 01.05.2026 | 30.04.2027 | 4 | 2026-07-01 | 2026-10-01 | 2027-01-01 | 2027-04-01
10 | NIKON JAPAN MICROSCOPE | TOWA OPTICS | SMZ-10A | KASBA | AMC | 01.08.2025 | 31.07.2026 | 2 | 23.08.2025 | 14.04.2026
11 | NIKON JAPAN MICROSCOPE | TOWA OPTICS | SMZ-10A | KASBA | AMC | 01.08.2025 | 31.07.2026 | 2 | 23.08.2025 | 14.04.2026
12 | NIKON JAPAN MICROSCOPE | TOWA OPTICS | E400 | KASBA | AMC | 01.08.2025 | 31.07.2026 | 2 | 23.08.2025 | 14.04.2026
13 | OPERATION MICROSCOPE | TOPCON | OMS 800 | SOUTHERN AVENUE | AMC | 01.01.2026 | 31.12.2026 | 2 | 2026-06-01 | 2026-11-01
14 | MEMMERT INCUBATOR | STECH IVF SOLUTIONS | 105049 | KASBA | AMC | 01.05.2025 | 30.04.2026 | 4 | 28.01.2026
15 | BINDER INCUBATOR | STECH IVF SOLUTIONS | CB-150 | KASBA | AMC | 01.05.2025 | 30.04.2026 | 4 | 28.01.2026
16 | BINDER INCUBATOR | STECH IVF SOLUTIONS | CB-150 | KASBA | AMC | 01.05.2025 | 30.04.2026 | 4 | 28.01.2026
17 | INTEL IMAGE | SOFTMED | -- | SOUTHERN AVENUE | AMC | 01.04.2026 | 31.03.2027 | --
18 | OTV-SC VIDEO SYSTEM | OLYMPUS | -- | ENT | AMC | 01.02.2026 | 31.01.2027 | 2 | 2026-07-01 | 2026-12-01
19 | RHINO-LARYNGOSCOPE | OLYMPUS | ENF-T3 | ENT | AMC | 01.02.2026 | 31.01.2027 | 2 | 2026-07-01 | 2026-12-01
20 | OTV-SCAN | OLYMPUS | MAJ-554 | ENT | AMC | 01.02.2026 | 31.01.2027 | 2 | 2026-07-01 | 2026-12-01
21 | HALOGEN LIGHT SOURCE | OLYMPUS | CLH-250 | ENT | AMC | 01.02.2026 | 31.01.2027 | 2 | 2026-07-01 | 2026-12-01
22 | COLONO-VIDEOSCOPE | OLYMPUS | CF-H190L | GASTRO | AMC | 01.02.2026 | 31.03.2027 | 2 | 2026-08-01 | 2027-01-01
23 | XENON LIGHT SOURCE | OLYMPUS | CLV-190 | GASTRO | AMC | 01.02.2026 | 31.03.2027 | 2 | 2026-08-01 | 2027-01-01
24 | VIDEO PROCESSSOR | OLYMPUS | CV-190 | GASTRO | AMC | 01.02.2026 | 31.03.2027 | 2 | 2026-08-01 | 2027-01-01
25 | GASTRO VIDEOSCOPE | OLYMPUS | GIF-H190 | GASTRO | AMC | 01.02.2026 | 31.03.2027 | 2 | 2026-08-01 | 2027-01-01
26 | SCOPYDOC SD | MED SYNAPTIC PVT LTD | -- | SOUTHERN AVENUE | AMC | 06.06.2025 | 05.06.2026 | 1 | 2026-05-01
27 | CARE STATION (ANAESTHESSIA ) | GE | MF15110291 | SOUTHERN AVENUE | AMC | 2025-01-01 | 2025-12-31 | 2 | 16.08.2025 | 30.11.2025 |  |  | Expired
28 | OP SL 3D CEPH | DENTSPLY SIRONA | D3632 | SOUTHERN AVENUE | AMC | 01.05.2025 | 30.04.2026 | 1
29 | MICROSCOPE | BIOMEDIX | ALLEGRA 900 | SOUTHERN AVENUE | AMC | 01.04.2025 | 31.03.2026 | 2 | 30.06.2025 | 21.11.2025
30 | STREIT LENSTAR | BIOMEDIX | LS900 | SOUTHERN AVENUE | AMC | 01.04.2025 | 31.03.2026 | 2 | 30.06.2025 | 21.11.2025
31 | VERION REFERENCE UNIT | ALCON | R60074 | SOUTHERN AVENUE | CMC | 31.05.2025 | 30.05.2026 | 1 | 21.03.2025
32 | VERION DIGITAL MARKER M | ALCON | M60424 | SOUTHERN AVENUE | CMC | 31.05.2025 | 30.05.2026 | 1 | 21.03.2025
33 | CENTURIAN VISION SYSTEM | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 1 | 04.02.2026
34 | CENTURIAN VISION SYSTEM | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 1 | 04.02.2026
35 | CONSTELLATION TABLE TOP | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 2 | 11.02.2026 | 2027-01-01
36 | PUREPOINT LASER | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 1 | 11.02.2026
37 | PUREPOINT LASER | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 1 | 11.02.2026
38 | XRAY PRINTER | AGFA | 14755 | SOUTHERN AVENUE | CMC | 01.01.2024 | 31.12.2025 | -- | 26.03.2025 | 18.09.2025 |  |  | Expired
39 | CR SYSTEM | CARESTREAM | VITA CR-35 | SOUTHERN AVENUE | AMC | 01.10.2025 | 30.09.2026 | 2 | 2026-05-01 | 2026-08-01
40 | DICOM PRINTER | CARESTREAM | DV 5950 | SOUTHERN AVENUE | AMC | 01.10.2025 | 30.09.2026 | 2 | 07.04.2026
41 | AQUA CHAIR | UNICORN DENMART | GNATUS | SOUTHERN AVENUE | AMC | 08.07.2024 | 07.07.2025 | 2 |  |  |  |  | Expired
42 | DENTAL CHAIR | UNICORN DENMART | ANTHOS | SOUTHERN AVENUE | AMC | 14.02.2026 | 13.02.2027 | 2 | 2026-06-01 | 2026-12-01
43 | SONOCARE FETAL MEDICINE | MEDIALOGIC | -- | SOUTHERN AVENUE | AMC | 15.09.2025 | 14.09.2026 | -- |  |  |  |  | Warrenty 1 year from the date of installation (20.09.2025)

## Sheet4
AM MEDICAL CENTRE
SL.NO. | TYPE OF EQUIPMENT | EQUIPMENT COMPANY | EQUIPMENT MODEL NO. | LOCATION | AMC/CMC | AMC / CMC PERIOD |  | PM FREQ./ | 1st PM | 2nd PM | 3rd PM | REMARKS
[6 empty] | FROM | TO | YR.
1 | OCT MACHINE | ZEISS | CIRRUS500 | EYE OPD | CMC | 01.01.2026 | 31.12.2026 | 2 | 2026-05-01 | 2026-11-01
2 | PERIMETRY | ZEISS | HFA-3 860 | EYE OPD | AMC | 01.10.2025 | 30.09.2026 | 2 | 30.01.2026 | 2026-08-01
3 | YAG LASER | ZEISS | VISULAS | EYE OPD | AMC | 01.10.2025 | 30.09.2026 | 2 | 17.02.2026 | 2026-08-01
4 | DIGITAL FUND CAMERA | ZEISS | VISUCAM 500 | EYE OPD | AMC | 01.10.2025 | 30.09.2026 | 2 | 17.02.2026 | 2026-08-01
5 | XRAY | GE | HV ADVANTAGE | IMAGING | AMC | 01.06.2025 | 31.05.2026 | 1 | 22.10.2025
6 | LOGIQ3 PRO | GE | -- | KASBA | AMC | 01.01.2026 | 31.12.2026 | 2 | 2026-05-01 | 2026-11-01
7 | LOGIQ E | GE | -- | SOUTHERN AVENUE | AMC | 01.01.2025 | 31.12.2025 | 1 | 26.08.2025
8 | LOGIQ F6 | GE | -- | KASBA | AMC | 01.01.2026 | 31.12.2026 | 2 | 2026-05-01 | 2026-11-01
9 | ETO MACHINE | UNIPOWER | -- | SOUTHERN AVENUE | AMC | 01.01.2025 | 31.12.2025 | 2 | 26.06.2025
10 | NIKON JAPAN MICROSCOPE | TOWA OPTICS | SMZ-10A | KASBA | AMC | 01.08.2025 | 31.07.2026 | 2 | 2026-04-01 | 2026-06-01
11 | NIKON JAPAN MICROSCOPE | TOWA OPTICS | SMZ-10A | KASBA | AMC | 01.08.2025 | 31.07.2026 | 2 | 2026-04-01 | 2026-06-01
12 | NIKON JAPAN MICROSCOPE | TOWA OPTICS | E400 | KASBA | AMC | 01.08.2025 | 31.07.2026 | 2 | 2026-04-01 | 2026-06-01
13 | OPERATION MICROSCOPE | TOPCON | OMS 800 | SOUTHERN AVENUE | AMC | 01.01.2026 | 31.12.2026 | 2 | 2026-05-01 | 2026-11-01
14 | MEMMERT INCUBATOR | STECH IVF SOLUTIONS | 105049 | KASBA | AMC | 01.05.2025 | 30.04.2026 | 4 | 28.01.2026 | 2026-04-01
15 | BINDER INCUBATOR | STECH IVF SOLUTIONS | CB-150 | KASBA | AMC | 01.05.2025 | 30.04.2026 | 4 | 28.01.2026 | 2026-04-01
16 | BINDER INCUBATOR | STECH IVF SOLUTIONS | CB-150 | KASBA | AMC | 01.05.2025 | 30.04.2026 | 4 | 28.01.2026 | 2026-04-01
17 | INTEL IMAGE | SOFTMED | -- | SOUTHERN AVENUE | AMC | 01.04.2026 | 31.03.2027 | -- | 2026-09-01 | 2026-01-01
18 | OTV-SC VIDEO SYSTEM | OLYMPUS | -- | ENT | AMC | 01.02.2026 | 31.01.2027 | 2 | 2026-05-01 | 2026-11-01
19 | RHINO-LARYNGOSCOPE | OLYMPUS | ENF-T3 | ENT | AMC | 01.02.2026 | 31.01.2027 | 2 | 2026-05-01 | 2026-11-01
20 | OTV-SCAN | OLYMPUS | MAJ-554 | ENT | AMC | 01.02.2026 | 31.01.2027 | 2 | 2026-05-01 | 2026-11-01
21 | HALOGEN LIGHT SOURCE | OLYMPUS | CLH-250 | ENT | AMC | 01.02.2026 | 31.01.2027 | 2 | 2026-05-01 | 2026-11-01
22 | COLONO-VIDEOSCOPE | OLYMPUS | CF-H190L | GASTRO | AMC | 01.02.2026 | 31.03.2027 | 2 | 2026-05-01 | 2026-11-01
23 | XENON LIGHT SOURCE | OLYMPUS | CLV-190 | GASTRO | AMC | 01.02.2026 | 31.03.2027 | 2 | 2026-05-01 | 2026-11-01
24 | VIDEO PROCESSSOR | OLYMPUS | V1221 | GASTRO | AMC | 01.02.2026 | 31.03.2027 | 2 | 2026-05-01 | 2026-11-01
25 | GASTRO VIDEOSCOPE | OLYMPUS | GIF-H190 | GASTRO | AMC | 01.02.2026 | 31.03.2027 | 2 | 2026-05-01 | 2026-11-01
26 | SCOPYDOC SD | MED SYNAPTIC PVT LTD | -- | SOUTHERN AVENUE | AMC | 06.06.2025 | 05.06.2026 | 1 | 2026-04-01
27 | CARE STATION (ANAESTHESSIA ) | GE | MF15110291 | SOUTHERN AVENUE | AMC | 2025-01-01 | 2025-12-31 | 2 |  |  |  | Expire
28 | OP SL 3D CEPH | DENTSPLY SIRONA | D3632 | SOUTHERN AVENUE | AMC | 01.05.2025 | 30.04.2026 | 1 | 2026-04-01
29 | MICROSCOPE | BIOMEDIX | ALLEGRA 900 | SOUTHERN AVENUE | AMC | 01.04.2025 | 31.03.2026 | 2 | 30.06.2025 | 21.11.2025
30 | STREIT LENSTAR | BIOMEDIX | LS900 | SOUTHERN AVENUE | AMC | 01.04.2025 | 31.03.2026 | 2 | 30.06.2025 | 21.11.2025
31 | VERION REFERENCE UNIT | ALCON | R60074 | SOUTHERN AVENUE | CMC | 31.05.2025 | 30.05.2026 | 1 | 21.03.2025
32 | VERION DIGITAL MARKER M | ALCON | M60424 | SOUTHERN AVENUE | CMC | 31.05.2025 | 30.05.2026 | 1 | 21.03.2025
33 | CENTURIAN VISION SYSTEM | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 1 | 04.02.2026
34 | CENTURIAN VISION SYSTEM | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 1 | 04.02.2026
35 | CONSTELLATION TABLE TOP | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 2 | 11.02.2026
36 | PUREPOINT LASER | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 1 | 11.02.2026
37 | PUREPOINT LASER | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 1 | 11.02.2026
38 | XRAY PRINTER | AGFA | 14755 | SOUTHERN AVENUE | CMC | 01.01.2024 | 31.12.2025 | -- | 26.03.2025 | 18.09.2025
39 | CR SYSTEM | CARESTREAM | VITA CR-35 | SOUTHERN AVENUE | AMC | 01.10.2025 | 30.09.2026 | 2
40 | DICOM PRINTER | CARESTREAM | DV 5950 | SOUTHERN AVENUE | AMC | 01.10.2025 | 30.09.2026 | 2
41 | AQUA CHAIR | UNICORN DENMART | GNATUS | SOUTHERN AVENUE | AMC | 08.07.2024 | 07.07.2025 | 2
42 | DENTAL CHAIR | UNICORN DENMART | ANTHOS | SOUTHERN AVENUE | AMC | 01.11.2025 | 31.10.2026 | 2
43 | SONOCARE FETAL MEDICINE | MEDIALOGIC | -- | SOUTHERN AVENUE | AMC | 15.09.2025 | 14.09.2026 | --
5 | XRAY | GE | HV ADVANTAGE | IMAGING | AMC | 01.06.2025 | 31.05.2026 | 1 | 22.10.2025
31 | VERION REFERENCE UNIT | ALCON | R60074 | SOUTHERN AVENUE | CMC | 31.05.2025 | 30.05.2026 | 1 | 21.03.2025
32 | VERION DIGITAL MARKER M | ALCON | M60424 | SOUTHERN AVENUE | CMC | 31.05.2025 | 30.05.2026 | 1 | 21.03.2025

## 24-25
AM MEDICAL CENTRE
SL.NO. | TYPE OF EQUIPMENT | EQUIPMENT COMPANY | EQUIPMENT MODEL NO. | LOCATION | AMC/CMC | AMC / CMC PERIOD |  | PM FREQ./ | 1st PM | 2nd PM / Due date | 3rd PM | REMARKS
[6 empty] | FROM | TO | YR.
1 | OCT MACHINE | ZEISS | CIRRUS500 | EYE OPD | AMC | 01.01.2025 | 31.12.2025 | 2 |  |  |  | Expired
2 | PERIMETRY | ZEISS | HFA-3 860 | EYE OPD | AMC | 01.10.2025 | 30.09.2026 | 2 | 30.01.2026
3 | YAG LASER | ZEISS | VISULAS | EYE OPD | AMC | 01.10.2025 | 30.09.2026 | 2
4 | DIGITAL FUND CAMER | ZEISS | VISUCAM 500 | EYE OPD | AMC | 01.10.2025 | 30.09.2026 | 2 | 17.05.2025
5 | XRAY | GE | HV ADVANTAGE | IMAGING | AMC | 01.06.2025 | 31.05.2026 | 1 | 22.10.2025
6 | LOGIQ3 PRO | GE | -- | KASBA | AMC | 01.01.2026 | 31.12.2026 | 2
7 | LOGIQ E | GE | -- | SOUTHERN AVENUE | AMC | 01.01.2025 | 31.12.2025 | 1 | 26.08.2025 |  |  | Expired
8 | LOGIQ F6 | GE | -- | KASBA | AMC | 01.01.2026 | 31.12.2026 | 2
9 | ETO MACHINE | UNIPOWER | -- | SOUTHERN AVENUE | AMC | 01.01.2025 | 31.12.2025 | 2 | 26.06.2025 | 26.11.2025 |  | Expired
10 | NIKON JAPAN MICROSCOPE | TOWA OPTICS | SMZ-10A | SOUTHERN AVENUE | AMC | 01.08.2025 | 31.07.2026 | 2
11 | NIKON JAPAN MICROSCOPE | TOWA OPTICS | SMZ-10A | SOUTHERN AVENUE | AMC | 01.08.2025 | 31.07.2026 | 2
12 | NIKON JAPAN MICROSCOPE | TOWA OPTICS | E400 | SOUTHERN AVENUE | AMC | 01.08.2025 | 31.07.2026 | 2
13 | OPERATION MICROSCOPE | TOPCON | OMS 800 | SOUTHERN AVENUE | AMC | 01.01.2026 | 31.12.2026 | 2
14 | MEMMERT INCUBATOR | STECH IVF SOLUTIONS | 105049 | KASBA | AMC | 01.05.2025 | 30.04.2026 | 4 | 28.01.2026
15 | BINDER INCUBATOR | STECH IVF SOLUTIONS | CB-150 | KASBA | AMC | 01.05.2025 | 30.04.2026 | 4 | 28.01.2026
16 | BINDER INCUBATOR | STECH IVF SOLUTIONS | CB-150 | KASBA | AMC | 01.05.2025 | 30.04.2026 | 4 | 28.01.2026
17 | INTEL IMAGE | SOFTMED | -- | SOUTHERN AVENUE | AMC | 01.04.2025 | 31.03.2026 | --
18 | OTV-SC VIDEO SYSTEM | OLYMPUS | -- | ENT | AMC | 01.02.2026 | 31.01.2027 | 2 | 12.11.2025 | 27.01.2026
19 | RHINO-LARYNGOSCOPE | OLYMPUS | ENF-T3 | ENT | AMC | 01.02.2026 | 31.01.2027 | 2 | 12.11.2025
20 | OTV-SCAN | OLYMPUS | MAJ-554 | ENT | AMC | 01.02.2026 | 31.01.2027 | 2 | 12.11.2025
21 | HALOGEN LIGHT SOURCE | OLYMPUS | CLH-250 | ENT | AMC | 01.02.2026 | 31.01.2027 | 2 | 12.11.2025
22 | COLONO-VIDEOSCOPE | OLYMPUS | CF-H190L | GASTRO | AMC | 01.02.2025 | 31.01.2026 | 3 | 08.05.2025 | 28.07.2025 | 28.11.2025 | Expired
23 | XENON LIGHT SOURCE | OLYMPUS | CLV-190 | GASTRO | AMC | 01.02.2025 | 31.01.2026 | 3 | 08.05.2025 | 28.07.2025 | 28.11.2025 | Expired
24 | VIDEO PROCESSSOR | OLYMPUS | CV-190 | GASTRO | AMC | 01.02.2025 | 31.01.2026 | 3 | 08.05.2025 | 28.07.2025 | 28.11.2025 | Expired
25 | GASTRO VIDEOSCOPE | OLYMPUS | GIF-H190 | GASTRO | AMC | 01.02.2025 | 31.01.2026 | 3 | 08.05.2025 | 28.07.2025 | 28.11.2025 | Expired
26 | SCOPYDOC SD | MED SYNAPTIC PVT LTD | -- | SOUTHERN AVENUE | AMC | 06.06.2025 | 05.06.2026 | 1
27 | CARE STATION (ANAESTHESSIA ) | GE | MF15110291 | SOUTHERN AVENUE | AMC | 2025-01-01 | 2025-12-31 | 2 | 16.08.2025 | 30.11.2025 |  | Expired
28 | OP SL 3D CEPH | DENTSPLY SIRONA | D3632 | SOUTHERN AVENUE | AMC | 01.05.2025 | 30.04.2026 | 1
29 | MICROSCOPE | BIOMEDIX | ALLEGRA 900 | SOUTHERN AVENUE | AMC | 01.04.2025 | 31.03.2026 | 2 | 30.06.2025 | 21.11.2025
30 | STREIT LENSTAR | BIOMEDIX | LS900 | SOUTHERN AVENUE | AMC | 01.04.2025 | 31.03.2026 | 2 | 30.06.2025 | 21.11.2025
31 | VERION REFERENCE UNIT | ALCON | R60074 | SOUTHERN AVENUE | CMC | 31.05.2025 | 30.05.2026 | 1 | 21.03.2025
32 | VERION DIGITAL MARKER M | ALCON | M60424 | SOUTHERN AVENUE | CMC | 31.05.2025 | 30.05.2026 | 1 | 21.03.2025
33 | CENTURIAN VISION SYSTEM | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 1 | 04.02.2026
34 | CENTURIAN VISION SYSTEM | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 1 | 04.02.2026
35 | CONSTELLATION TABLE TOP | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 2
36 | PUREPOINT LASER | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 1
37 | PUREPOINT LASER | ALCON | -- | SOUTHERN AVENUE | CMC | 01.05.2024 | 30.04.2027 | 1
38 | XRAY PRINTER | AGFA | 14755 | SOUTHERN AVENUE | CMC | 01.01.2024 | 31.12.2025 | -- | 26.03.2025 | 18.09.2025 |  | Expired
39 | CR SYSTEM | CARESTREAM | VITA CR-35 | SOUTHERN AVENUE | AMC |  |  |  | 09.04.2025
40 | DICOM PRINTER | CARESTREAM | DV 5950 | SOUTHERN AVENUE | AMC |  |  |  | 09.04.2025
41 | AQUA CHAIR | UNICORN DENMART | GNATUS | SOUTHERN AVENUE | AMC | 08.07.2024 | 07.07.2025 | 2 |  |  |  | Expired
42 | DENTAL CHAIR | UNICORN DENMART | ANTHOS | SOUTHERN AVENUE | AMC | 01.11.2025 | 31.10.2026 | 2
43 | SONOCARE FETAL MEDICINE | MEDIALOGIC | -- | SOUTHERN AVENUE | AMC | 15.09.2025 | 14.09.2026 | -- |  |  |  | Warrenty 1 year from the date of installation (20.09.2025)